COMMUNITY DEVELOPMENT DEPARTMENT

## 80 Columbia Avenue  Marysville, WA  98270

(360) 363-8100  (360) 651-5099 FAX

# MEMORANDUM

DATE:	May 29, 2020

TO:	Chris Holland, Manager

FROM:	Deryl Taylor, Development Services Technician

RE:	RFR for PA 20-026, The Lodge IV Apts, 17501 19th Ave NE

CC:	Engineering Services Manager

Utilities & Fees

For utility record drawings, visit our website at www.marysvillewa.gov/295/GISMaps, click on “Online Maps” then “Marysville WA Utilities” to determine drawing numbers.  Then contact the GIS Division at cchang@marysvillewa.gov to request drawings via email.  For sewer capacity issues, contact Adam Benton at 360-363-8283 or abenton@marysvillewa.gov.  For pressure and fire flow, contact Kim Bryant at kbryant@marysvillewa.gov.  Submit civil plans to the Engineering Services Manager at 80 Columbia Ave for review.

1)  Residential Utility Capital Improvement Fees

The current capital fees are as follows:

Water:  $4750/dwelling unit

Sewer:  $4490/du

Meter fees vary depending on size.  Fees are due at building permit issuance.

2)  Commercial Utility Capital Improvement Fees

Capital improvement fees for recreation/accessory buildings are based on the square footage of the building.  Water fees are currently $1.64/sf and sewer fees vary depending on type of use.

3)  Recovery Fees – City sewer recovery RC#271 applies at the rate of $0.232/sf of property.

4)  Surface Water Fees – Capital fees are $95/du for residential development and $95/3200sf of impervious surface area for commercial development.